** DOLKOT®**

**CEMENT-BASED ADHESIVE MORTAR**

*Thermal Insulation Board Adhesion Mortar with High Performance and Polymer Additive*

**FIELD OF APPLICATION**

Used for affixing polystyrene and STONEWOOL plates on surfaces such as rough and fine plaster, concrete, brick, etc.

**CHARACTERISTICS**

Ideal for affixing XPS, EPS and STONEWOOL.

Provides high adhesion performance.

It has polymer additives.

**APPLICATION**

**SURFACE PREPARATION**

The surface of application shall always be free of materials such as form oil, dust, paint, etc.

Moving parts with low adherence shall be moved away from the surface.

You may advance to application after dampening the surface.

PREPARATION AND APPLICATION OF THE MORTAR

A proper water amount shall be put inside the mixing container (6-6.75 l water/25 kg bag).

Powder material shall be added and mixed with hand mixer at low speed.

After resting for 5 minutes, the plaster shall be mixed until achieving a homogeneous mixture.

Mortar shall be applied to edges of the thermal insulation board as a frame with a width of 4-5 cm and a thickness of 1 cm. A suitable amount of mortar shall be placed to the points in the central areas.

Plates are affixed to the floor with a suitable pressure.

On plastered surfaces, mortar is taken with a toothed trowel and affixed on the thermal insulation board.

Mechanical plugling is performed when the mortar is cured adequately.

**CONSUMPTION**

4-5 kg/m² (average).

**TECHNICAL DATA**

|  |  |
| --- | --- |
| Hollow Bulk Density of Fresh Mortar, kg/m³ | ≥ 1000 |
| Average Compressive Strength, N/mm² | > 6 |
| Average Bending Strength, N/mm² | > 2 |
| Adherence Strength(Adhesion Force to the Bottom Layer), N/mm² | ≥ 0.5 |
| Adherence Strength (Adhesion Force to the Thermal Insulation Board ), N/mm² | ≥ 0.08 |
| Water Absorption, 30 minutes later, g | ≤ 5 |
| Water Absorption, 240 minutes later, g | ≤ 10 |
| Class of Reaction To Fire | A1 |
| Grain Size Over 1 mm | Max 1.0% |

**PACKAGING AND STORAGE**

Available in 25 kg polyethylene-reinforced paper bags, delivered in pallets or as sling-bags upon request. It is recommended that the product shall be consumed in 1 year from the date of manufacture if stored in its original package without opening the package under dry, frost free conditions and is stacked as maximum 8 bags, and in 1 week after opening the package. Package shall be tightly closed when it is not used.

**RECOMMENDATIONS**

• No other materials (lime, cement, gypsum, etc.) shall be added to the prepared mortar.

• Mortar shall not be used again by mixing with water or dry mortar if its application time has expired.

• It is recommended that the application shall be performed between +5°C and +35°C.

• It shall not be applied on frozen surfaces.

• Do not apply under direct sunlight.

• Do not go beyond the application field and the rules.

• Do not inhale it directly. Wash your eyes with plenty of water in case of contact with eyes, seek medical attention if required.

• For detailed information, please request the safety data sheet.

• Contact us for your technical questions and for your questions about all other application conditions.

**CERTIFICATE OF CONFORMITY**

TS 13566 / June 2013

 Ministry of Public Works Pos. No: 04,480